## Slide 1: GTAC – submission on GIC Assessment
Andrew Inwood

## Slide 2: Summary View
Agree that GTAC does not meet the “Materially Better” requirement.
Significant issues:
  Lack of clarity on Interconnection agreements, Shell as interconnected party will want to modify considerably the current ICA drafts to meet requirements (in the areas identified in the submission). For proper negotiations, GTAC provisions must not be constraints on providing us with rights to continue production without disruption or cost.
  Reasonable & Prudent Operator does not reference to conforming with good gas practice recognised internationally.

## Slide 3: Question 1 – Approach to analysis
Agree that “a single flaw in the GTAC should not be a stumbling block to implementing the GTAC if it is, overall, ‘materially better’”. But: some single flaws may be completely unacceptable, such as GTACs early termination date, with no standard for code replacement, and liability and RPO provisions.
Perhaps too much weight given to benefits of unification.
  Could this be achieves by changes to the VTC? And incremental changes to MPOC (nominations to apply PR mechanisms, and reduce nomination complexity).
  Can’t achieve full alignment, as some VT interconnection agreements don’t expire.
Insufficient weight on disruption to long-standing access terms, relationships and responsibilities.
  Prefer evolutionary changes, rather than untested and radical changes.

## Slide 4: Question 2 – Transmission Products
PR mechanism is an improvement over capacity reservation.
Agree with First Gas that:
  Nominations are integral to the flexibility of any code;
  Rather than VTC’s once a year capacity booking process, daily nominations allow dynamic management of capacity risk exposure.
  Key advantage over the VTC is that the price of scarce capacity (the PR price) will be set via auction

## Slide 5: Question 3 – Pricing Arrangements
We disagree with the comment that “users can be driven to incur costs to balance their own positions even though the system does not require any balancing action”. This is inconsistent with the primary balancing principle of parties being responsible for their imbalances at all times, irrespective of the overall position.
Agree that there are benefits where parties with both positive and negative imbalances at different points should not be cashed-out at both points but this is quite avoidable because FG can move ROI between points to substantially resolve such imbalances . The GIC report in December 2016 concluded that MBB had brought about improvements to balancing; there should be a proper justification for putting that improvement at risk. We do not see that justification.

## Slide 6: Question 4 – Energy Allocation
Metering requirements are not yet clear: technical standards not agreed, Interconnection agreements not yet negotiated, allocation protocols need improving.
We will be seeking assurance that additional investment is not required to meet the required standards.

## Slide 7: Question 5 – Energy Allocation Agreements
As per Jan. submission, prefer OBAs.
Other mechanisms could be also beneficial, provided that:
  They are standardised (pro-rata, swing, ranking as well as OBA).
  Driven from approved nominations.
  Approved nominations are summed across all points to give a Scheduled Quantity that can be published and monitored.
Removal of Displaced Gas nominations has a negative effect on trading.
Lack of meaningful protocols and standards for allocation will likely lead to disputes and need for regulation (hence need for regulation if not regulated in GTAC).
Overall, must be seen as worse, and a retrograde step.

## Slide 8: Question 5 – Balancing
Disagree that it will be more efficient under GTAC.
Do not see the need to change the mechanism to an untried one, given history of balancing under MPOC.
Significant concerns with ERM mechanism and potential impact on TTP and lie pack variability.
Burden of proof should not be to prove that ERM is worse, but for First Gas to demonstrate that it is better.
We don’t see that parties would often be in an unavoidable position of a positive and negative positions and getting cashed-out at both, and so see this as a weak justification.
Would like to see examples / quantified analysis of TPWPs being cashed-out at a “magnitude that exceeds the aggregate of downstream shipper mismatch and VRI”

## Slide 9: Question 5 – Balancing (continued)
We don’t see the ERM mechanism as encouraging more activity in the spot market. With reduced incentives, it will likely reduce activity.
Overall, we have significant concerns for pipeline stability. This mechanism would increase pressure fluctuations would impose costs on producers (and any parties heating gas at let-down stations), and reduce reliability by increased frequency of critical contingencies.

## Slide 10: Question 7 – Curtailment
Agree that shippers are poorly placed to respond to curtailment, especially at receipt points.
  Concerned by inefficiencies and costs required for Shippers to discharge their obligations by modifying gas contracts with producers.
Loss of rights of Interconnected parties to curtail in force-majeure circumstances is a significant loss of efficiency.
Overall a moderate deterioration, not neutral.

## Slide 11: Question 9 – Gas Quality
We reiterate our point in previous submissions that the potential for a party to be “deemed” not to be a RPO is unacceptable, and can potentially cause intractable governance and legal issues for us.
The GTAC is materially worse than the MPOC with respect to this clause, and this should have been reflected in the assessment.

## Slide 12: Question 10 – Governance
The GTAC expiration date is unacceptable when expected field life of producing assets and consumers is much past this. This should be considered a substantial deterioration.
There is no provision setting out the required standard for a replacement standard following the GTAC. MPOC has a requirement of any replacement being “materially better”, and therefore in comparison the GTAC provisions must be assessed as a substantial deterioration.
Overall, we disagree with the GICs conclusion on termination provisions; in respect of both fairness and efficiency this is a substantial deterioration.
Shell will be seeking interconnection rights under its ICA that provide assurance of interconnection for life of assets

## Slide 13: Question 11 – Top Down Analysis
We consider:
Energy Allocation as a net deterioration.
Balancing as a substantial deterioration.
Term and termination as a substantial deterioration.

## Slide 14: Question 12 – Overall Assessment
Agree with:
Positive assessment of streamlining transmission products and processes
Positive assessment of the widening tools for managing congestions.
Negative assessment of incentive charge structure.
Negative assessment of workability of liability provisions.
Disagree with:
Positive assessment of ‘system wide’ gas balancing.
Grandfathering provisions the retain some Existing Interconnection Agreements.
Facilitation of gas trading

## Slide 15: Question 13 – Interconnection Agreements
Agree that this is a substantial negative factor.
We have outlined the matters we shall be seeking reinstated from current terms in any ICA to be negotiated.

## Slide 16: Question 14 – Supplementary Agreements
Agree, and see the need for oversight of arrangements (eg. review by GIC to ensure they’re not discriminatory)

## Slide 17: Question 16 – Daily overrun and underrun
We see these as inefficient, with potential anomalies due to rebate mechanism.
Could be avoided if DNC nominations were replaced by simple gas nominations, and approved nominations driving allocations at every point.

## Slide 18: Question 18 – Liabilities
No party considering entering into gas transmission or interconnection agreements should be expected to sign an agreement which states there are circumstances where the party can be “deemed not to have acted as a Reasonable and Prudent Operator”. Such a determination should be determined by the facts. Any necessity for such a “deeming” is indicative of a flawed design in the liability provisions.

## Slide 19: Question 19 – Views on TTP
We suggest that the current excursions outside of the 42-48 barg TTP limit may be, in-part, due to lack of strong incentives or liability provisions on the Pipeline Operator to control within the limits even under the MPOC. That is not grounds to weaken them further under the GTAC.
We agree with the GICs conclusion: “We have seen no evidence supporting a change to the TTP or justifying a relaxation of the management standards. Accordingly, it would appear efficient and prudent to maintain at least the level of scrutiny and control that is current required by the MPOC.”
We disagree with the First Gas characterisation of the GTAC wording being reflective of current practice (key failure is that ERM exclusion eliminates any obligation of First Gas to act).
First Gas’ open-letter on how Ahuroa Gas Storage will be separated from the transmission business does not give us confidence in the way that First Gas will manage pressure and line pack. There is a strong incentive to minimise compression costs by having high line pressure in Taranaki.

## Slide 20: Question 20 – ERM spread analysis
Appreciate analysis, but do not agree that comparison with bid/ask spreads is sufficient. It does not consider incentives over several days where gas prices are likely to change.
We believe the two-tiered assymetric incentives will lead to high volatility in primary balancing, as parties may store or borrow gas to arbitrage prices.
Overall, reduced incentives (including lack of title change, and rebate shortly after costs incurred) will increase backpressure volatility, and unnecessarily re-open the issue of balancing.
We believe retention of daily balancing mechanisms are essential, ERM mechanism is not daily balancing.

## Slide 21: Question 21 – Incentive rebate analysis
Agree with Lantau Group (via Trustpower), that rebates over both short and long periods have flaws.
We agree with asymmetric charges influencing people to balance higher, leading to pressure issues.
We think the analysis misses that another key difference with ERM vs Daily Balancing is transfer of title.
The fixed nature of the charges and transparency on all parties imbalance positions allows continuous calculation of exposure and likely rebates; can highly influence decisions, as analysis doesn’t include the time value of money.

## Slide 22: Question 22 – Discretion analysis
Disagree in regards to defining upper and lower linepack limited, because clause 8.5 is too vague as to whether they will adequately recognize the link to TTP limits.
Protection of TTP limits are inadequately specified and too open to First gas’ discretion, and there are no liabilities attributable.